## Sheet1
Institution | Equipement name | Manufacturer | Device model | Type of maintenance required (calibration, cleaning, etc. )
Archambault med. | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
Archambault med. | Suction unit | Laerdal Medical | LSU | According to manufacturer standards
Archambault med. | Electronic scale | Seca | BMI 703 13 1999 | According to manufacturer standards
Archambault med. | Ambulance Stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
Archambault med. | Hospital stretcher | Techlem | 5000 | According to manufacturer standards
Archambault med. | Compressor/Nebulizer | Drive DeVilbiss Healthcare | Pulmo-Aide 5650C | According to manufacturer standards
Archambault med. | Compressor/Nebulizer | Drive DeVilbiss Healthcare | Pulmo-Aide 5650C | According to manufacturer standards
Archambault med. | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
Archambault med. | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
Archambault med. | Electrocardiograph | Welch Allyn | CP 200 | According to manufacturer standards
Archambault med. | Electrocoagulator | Aaron Medical | A900 | According to manufacturer standards
Archambault med. | Patient lift | ArjoHuntleigh | Maxi Sky 1000 | According to manufacturer standards
Archambault med. | Patient lift | Waverley Glen | F-600 | According to manufacturer standards
Archambault med. | Bariatric electric bed | Umamo medical | Ook Snow All | According to manufacturer standards
Archambault med. | Bariatric electric bed | Umamo medical | Ook Snow All | According to manufacturer standards
Archambault med. | Electric bed | Stryker | FL23E | According to manufacturer standards
Archambault med. | Electric bed | Stryker | FL23E | According to manufacturer standards
Archambault med. | Electric bed | Stryker | FL23E | According to manufacturer standards
Archambault med. | Electric bed | Stryker |  | According to manufacturer standards
Archambault med. | Electric bed | Stryker | Spirit plus | According to manufacturer standards
Archambault med. | Electric mobile bed | Stryker |  | According to manufacturer standards
Archambault med. | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Archambault med. | Vital Signs Monitor | Philips | IntelliVue MX700 | According to manufacturer standards
Archambault med. | Vital Signs Monitor | Welch Allyn | Propaq LT / 802LTON | According to manufacturer standards
Archambault med. | Vital Signs Monitor | Welch Allyn | Propaq LT / 802LTON | According to manufacturer standards
Archambault med. | Vital Signs Monitor | Welch Allyn | Propaq LT / 802LTON | According to manufacturer standards
Archambault med. | Feeding pump | Coviden | Kangoroo Epump | According to manufacturer standards
Archambault med. | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
Archambault med. | Syringe pump | Smiths Medical | Graseby 3100 | According to manufacturer standards
Archambault med. | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
Archambault med. | Central oxygen system | Amico | M-300-E-08-OXY | According to manufacturer standards
Archambault med. | Motorized examination table | Midmark | Ritter 222-015 | According to manufacturer standards
Archambault med. | Suction unit | Devilbiss Healthcare | 7305 Series | According to manufacturer standards
Archambault med. | Procedure stretcher | Stryker | 1115 Big Wheel Prime | According to manufacturer standards
Archambault min. | Blood pressure monitor | Omron | 5 Series (BP7250CAN) | According to manufacturer standards
Archambault min. | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
Archambault min. | Electronic scale | Seca | BMI 703 13 1998 | According to manufacturer standards
Archambault min. | Ambulance Stretcher | Stryker | Rugged | According to manufacturer standards
Archambault min. | Stair chair | Ferno | 557 EZ Glide | According to manufacturer standards
Archambault min. | Compressor/Nebulizer | Drive DeVilbiss Healthcare | Pulmo-Aide 5650C | According to manufacturer standards
Archambault min. | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Archambault min. | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Archambault min. | Vital Signs Monitor | Welch Allyn | Propaq LT | According to manufacturer standards
Archambault min. | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
Archambault min. | Motorized examination table | Midmark | Ritter 222-015 | According to manufacturer standards
Cowansville | Compact suction unit | Laerdal Medical | LCSU 3 | According to manufacturer standards
Cowansville | Compact suction unit | Laerdal Medical | LCSU 3 | According to manufacturer standards
Cowansville | Suction unit | Schuco | S330A | According to manufacturer standards
Cowansville | Air purifer | Austin Air | HM400 | According to manufacturer standards
Cowansville | Air purifer | Austin Air | HM400 | According to manufacturer standards
Cowansville | Therapeutic bath | Ferno | 690 | According to manufacturer standards
Cowansville | Stretcher | Stryker | Advantage | According to manufacturer standards
Cowansville | Powered stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
Cowansville | Vascular doppler | Nicolet Biomedical | Elite 100 | According to manufacturer standards
Cowansville | Electrocardiograph | Welch Allyn | CP 100 | According to manufacturer standards
Cowansville | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Cowansville | Electrocardiograph | Welch Allyn | CP 200 | According to manufacturer standards
Cowansville | Intergrated diaognostic wall system | Welch Allyn | Green Series 777 | According to manufacturer standards
Cowansville | Intergrated diaognostic wall system | Welch Allyn | Green Series 777 | According to manufacturer standards
Cowansville | Intergrated diaognostic wall system | Welch Allyn | Green Series 777 | According to manufacturer standards
Cowansville | Episcope | Welch Allyn | EpiScope Skin Surface Microscope | According to manufacturer standards
Cowansville | Recliner chair | Lumex | FR577RG Series | According to manufacturer standards
Cowansville | Exam light | Welch Allyn | GS300 | According to manufacturer standards
Cowansville | Exam light | Welch Allyn | GS600 | According to manufacturer standards
Cowansville | Exam light | Welch Allyn | GS900 | According to manufacturer standards
Cowansville | Portable frontal light | Welch Allyn | Lumiview | According to manufacturer standards
Cowansville | Patient lift | Ferno | 196 | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | Atlas Monitor - 6200 series | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | Atlas Monitor - 6200 series | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Cowansville | Vital Signs Monitor | Welch Allyn | Connex Vital signs monitor | According to manufacturer standards
Cowansville | Otoscope | Welch Allyn | Macroview | According to manufacturer standards
Cowansville | Scale | Health O Meter | 500KL | According to manufacturer standards
Cowansville | Scale | Health O Meter | 500KL | According to manufacturer standards
Cowansville | Scale | Health O Meter | 597KL | According to manufacturer standards
Cowansville | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
Cowansville | Syringe pump | Graseby | 3100 | According to manufacturer standards
Cowansville | Syringe pump | Healthmark | ESP-60 | According to manufacturer standards
Cowansville | Oxygen regulator | Ambu | CGA 870 | According to manufacturer standards
Cowansville | Oxygen regulator | Flotec | RR800-300-P2 | According to manufacturer standards
Cowansville | Oxygen regulator | Inovo | CGA 870 | According to manufacturer standards
Cowansville | Oxygen regulator | Inovo | CGA 870 | According to manufacturer standards
Cowansville | Saturometer | BLT Biolight | M70 | According to manufacturer standards
Cowansville | Saturometer | BLT Biolight | M70 | According to manufacturer standards
Cowansville | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
Cowansville | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
Cowansville | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
Cowansville | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
Cowansville | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Cowansville | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Cowansville | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Cowansville | Sphygmo | Welch Allyn | Palm aneroid | According to manufacturer standards
Cowansville | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Cowansville | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Cowansville | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Cowansville | Neuro-muscular stimulator | AMG Médical | Proactive | According to manufacturer standards
Cowansville | Examination table | Midmark | Ritter 204 | According to manufacturer standards
Cowansville | Examination table | Midmark | Ritter 222 | According to manufacturer standards
Cowansville | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Cowansville | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Cowansville | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Cowansville | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Cowansville | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Cowansville | Electronic thermometer | Welch Allyn | SureTemp 679 | According to manufacturer standards
Cowansville | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Cowansville | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Cowansville | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Cowansville | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Cowansville | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Cowansville | Therapeutic bath valves | Ferno |  | According to manufacturer standards
Donnacona | Suction unit | DeVilbiss Healthcare | 7305 Series | According to manufacturer standards
Donnacona | Compact suction unit | Laerdal Medical | LCSU 3 | According to manufacturer standards
Donnacona | Compact suction unit | Laerdal Medical | LCSU 3 | According to manufacturer standards
Donnacona | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
Donnacona | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
Donnacona | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
Donnacona | Warming cabinet | Hugaire | OR-9000 | According to manufacturer standards
Donnacona | Air purifer | Austin Air | HM400 | According to manufacturer standards
Donnacona | Stretcher | Stryker | 1005 | According to manufacturer standards
Donnacona | Stretcher | Stryker | 1037 | According to manufacturer standards
Donnacona | Stretcher | Rugged | LX | According to manufacturer standards
Donnacona | Powered stretcher | Ferno | Power Flexx + | According to manufacturer standards
Donnacona | Powered stretcher | Ferno | Power Flexx + | According to manufacturer standards
Donnacona | Electrocardiograph | Welch Allyn | CP 100 | According to manufacturer standards
Donnacona | Electrocardiograph | Welch Allyn | CP 200 | According to manufacturer standards
Donnacona | Intergrated diaognostic wall system | Welch Allyn | Connex Integrated Wall System | According to manufacturer standards
Donnacona | Intergrated diaognostic wall system | Welch Allyn | Connex Integrated Wall System | According to manufacturer standards
Donnacona | Intergrated diaognostic wall system | Welch Allyn | Connex Integrated Wall System | According to manufacturer standards
Donnacona | Exam light | Midmark | Ritter 253 | According to manufacturer standards
Donnacona | Therapeutic laser | Metron Healthcare | Advanced Laser AL170 | According to manufacturer standards
Donnacona | Hospital bed | Stryker | FL23SM | According to manufacturer standards
Donnacona | Hospital bed | Stryker | FL23SM | According to manufacturer standards
Donnacona | Hospital bed | Stryker | FL23SM | According to manufacturer standards
Donnacona | Hospital bed | Stryker | FL23SM | According to manufacturer standards
Donnacona | Manometer | MEI Manometría e Instrumentación | MEI-870-FG | According to manufacturer standards
Donnacona | Manometer | MEI Manometría e Instrumentación | MEI-870-FG | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | 300 Series | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | 300 Series | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | Propaq LT | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | Propaq LT | According to manufacturer standards
Donnacona | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Donnacona | Nebulizer | Airlife | RT500 | According to manufacturer standards
Donnacona | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
Donnacona | Syringe pump | Graseby | 3100 | According to manufacturer standards
Donnacona | Oxygen regulator | Amvex | GRM-15 | According to manufacturer standards
Donnacona | Oxygen regulator | CHAD Therapeutics | CGA 870 | According to manufacturer standards
Donnacona | Oxygen regulator | Precision medical | 168715D | According to manufacturer standards
Donnacona | Oxygen regulator | Western Medica | OPB-820 | According to manufacturer standards
Donnacona | Saturometer | Mini Corr | DIGIT 3420Y | According to manufacturer standards
Donnacona | Saturometer | Mini Corr | DIGIT 3420Y | According to manufacturer standards
Donnacona | Saturometer | Mini Corr | DIGIT 3420Y | According to manufacturer standards
Donnacona | Saturometer | Mini Corr | DIGIT 3420Y | According to manufacturer standards
Donnacona | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
Donnacona | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
Donnacona | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
Donnacona | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
Donnacona | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
Donnacona | Neuro-muscular stimulator | EMPI | Continuum - 300PV | According to manufacturer standards
Donnacona | Neuro-muscular stimulator | EMPI | Continuum - 300PV | According to manufacturer standards
Donnacona | Neuro-muscular stimulator | Everyway medical | EV-804 | According to manufacturer standards
Donnacona | Neuro-muscular stimulator | Everyway medical | EV-806 | According to manufacturer standards
Donnacona | Neuro-muscular stimulator | Groupe ERP | Comfy TENS | According to manufacturer standards
Donnacona | Neuro-muscular stimulator | GymnaUniphy N.V. | Combi200 | According to manufacturer standards
Donnacona | Physiotherapy table | Chattanooga Group | Montane table Atlas 3 section | According to manufacturer standards
Donnacona | Examination table | Midmark | 630 Humanform | According to manufacturer standards
Donnacona | Examination table | Midmark | Ritter 222 | According to manufacturer standards
Donnacona | Examination table | Midmark | Ritter 222 | According to manufacturer standards
Donnacona | Electronic thermometer | Welch Allyn | SureTemp 678 | According to manufacturer standards
Donnacona | Electronic thermometer | Welch Allyn | SureTemp 678 | According to manufacturer standards
Donnacona | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Donnacona | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Donnacona | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Donnacona | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Donnacona | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Donnacona | Tympanic thermometer | Welch Allyn | Pro 4000 | According to manufacturer standards
Drummond | Portable coagulation analyzer | Roche Diagnostics | Coaguchek XS system | According to manufacturer standards
Drummond | Suction unit | DeVilbiss Healthcare | 7305 Series | According to manufacturer standards
Drummond | Suction unit | DeVilbiss Healthcare | 7305 Series | According to manufacturer standards
Drummond | Suction unit | DeVilbiss Healthcare | 7305 Series | According to manufacturer standards
Drummond | Suction unit | DeVilbiss Healthcare | 7305 Series | According to manufacturer standards
Drummond | Stretcher | Stryker | 1115 Big Wheel Prime | According to manufacturer standards
Drummond | Stretcher | Stryker | 1115 Big Wheel Prime | According to manufacturer standards
Drummond | Powered stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
Drummond | Powered stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
Drummond | Combo intellect mobile | Chattanooga Group | Intellect Mobile | According to manufacturer standards
Drummond | Oxygen concentrator | Devilbiss Healthcare | 525ADS | According to manufacturer standards
Drummond | Vascular doppler | Nicolet Biomedical | Elite 200R | According to manufacturer standards
Drummond | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Drummond | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Drummond | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Drummond | Electrocardiograph | Welch Allyn | CP 200 | According to manufacturer standards
Drummond | Intergrated diaognostic wall system | Welch Allyn | Green Series 777 | According to manufacturer standards
Drummond | Recliner chair | DeVilbiss Healthcare | D577-BR | According to manufacturer standards
Drummond | Recliner chair | Winco Mfg., LLC | 572 | According to manufacturer standards
Drummond | Procedure light | Medi Spot | 14315 | According to manufacturer standards
Drummond | Exam light | Daylight | U22020-01 | According to manufacturer standards
Drummond | Hospital bed | Pedigo | 545-1 | According to manufacturer standards
Drummond | Hospital bed | HillRom | Resident LTC | According to manufacturer standards
Drummond | Hospital bed | ROTEC | MultiTech | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | 300 Series | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Connex Spot | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Propaq LT | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Drummond | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Drummond | Nebulizer | DeVilbiss Healthcare | Pulmo-Aide | According to manufacturer standards
Drummond | Nebulizer | DeVilbiss Healthcare | Pulmo-Aide | According to manufacturer standards
Drummond | Otoscope | Welch Allyn | 74710 | According to manufacturer standards
Drummond | Scale | Health O Meter | 400KL | According to manufacturer standards
Drummond | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
Drummond | Syringe pump | Baxter | 300XL | According to manufacturer standards
Drummond | Syringe pump | Graseby | 3100 | According to manufacturer standards
Drummond | Oxygen regulator | Amvex | GRM-15 | According to manufacturer standards
Drummond | Oxygen regulator | CHAD Therapeutics | CGA 870 | According to manufacturer standards
Drummond | Oxygen regulator | Flotec | RR830-100-P4 | According to manufacturer standards
Drummond | Oxygen regulator | Victor medical | 3000380-20 | According to manufacturer standards
Drummond | Oxygen regulator | Victor medical |  | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | Tycos classic pocket | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | Tycos classic pocket | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | Tycos classic pocket | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | Tycos classic pocket | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | Tycos classic pocket | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Drummond | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Drummond | Neuro-muscular stimulator | EMPI | Dynex V | According to manufacturer standards
Drummond | Neuro-muscular stimulator | Medtronic | Selectra 7720 | According to manufacturer standards
Drummond | Physiotherapy table | CoinfyCare | EL05 Robin (modèle 5 sections) | According to manufacturer standards
Drummond | Examination table | Midmark | 630 HumanForm | According to manufacturer standards
Drummond | Examination table | Midmark | 630 HumanForm | According to manufacturer standards
Drummond | Examination table | Midmark | Ritter 222 | According to manufacturer standards
Drummond | Electronic thermometer | FLUKE | 51 Series II | According to manufacturer standards
Drummond | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Drummond | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Drummond | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Drummond | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 600 | Vital Signs Monitor | Welch Allyn | 42NTB | According to manufacturer standards
FTC 600 | Suction unit | Devilbiss Healthcare | 7305 Series | According to manufacturer standards
FTC 600 | Compact suction unit | Laerdal Medical | LCSU 3 | According to manufacturer standards
FTC 600 | Scale | Detecto | 8430 | According to manufacturer standards
FTC 600 | Powered stretcher | Ferno | Power Flexx + | According to manufacturer standards
FTC 600 | Compressor/Nebulizer | DeVilbiss Healthcare | Pulmo-Aide 5650C | According to manufacturer standards
FTC 600 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 600 | Electrocardiograph | Welch Allyn | CP 200 | According to manufacturer standards
FTC 600 | Electric patient lift | Lumex | LF1090 | According to manufacturer standards
FTC 600 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 600 | Vital Signs Monitor | Welch Allyn | Propaq LT | According to manufacturer standards
FTC 600 | Vital Signs Monitor | Welch Allyn | Atlas Monitor - 6200 series | According to manufacturer standards
FTC 600 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 600 | Syringe pump | Graseby | 3100 | According to manufacturer standards
FTC 600 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 600 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 600 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 600 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 600 | Saturometer | Mini Corr | DIGIT 3420Y | According to manufacturer standards
FTC 600 | Saturometer | Mini Corr | Digit 3420Y | According to manufacturer standards
FTC 600 | Saturometer | Nellcor | Oximax | According to manufacturer standards
FTC 600 | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
FTC 600 | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
FTC 600 | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
FTC 600 | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
FTC 600 | Sphygmo | Welch Allyn | ProBP 2400 | According to manufacturer standards
FTC 600 | Sphygmo | Welch Allyn | Palm shock | According to manufacturer standards
FTC 600 | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
FTC 600 | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
FTC 600 | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
FTC 600 | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
FTC 600 | Numeric sphygmo | Welch Allyn | Pro PB 2400 | According to manufacturer standards
FTC 600 | Neuro-muscular stimulator | GymnaUniphy N.V. | Combi200 | According to manufacturer standards
FTC 600 | Examination table | Midmark | Ritter 222 | According to manufacturer standards
FTC 600 | Electronic thermometer | Welch Allyn | SureTemp 679 | According to manufacturer standards
FTC 600 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 600 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 6099 | Stretcher | Stryker | 1105 Prime series | According to manufacturer standards
FTC 6099 | Stretcher | Stryker | 1105 Prime series | According to manufacturer standards
FTC 6099 | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
FTC 6099 | Coagulation analyzer | Roche Diagnostics | Coaguchek XS system | According to manufacturer standards
FTC 6099 | Cardiac risk marker analyzer | Roche Diagnostics | Cobas h 232 POC system | According to manufacturer standards
FTC 6099 | Blood pressure monitor | Omron | HEM-907XL | According to manufacturer standards
FTC 6099 | Blood pressure monitor | Omron | HEM-907XL | According to manufacturer standards
FTC 6099 | Blood pressure monitor | Omron | HEM-907XL | According to manufacturer standards
FTC 6099 | Blood pressure monitor | Omron | HEM-907XL | According to manufacturer standards
FTC 6099 | Electronic blood pressure Monitor | Welch Allyn | 71 - Connex Spot Monitor | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | 42NTB | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | 42NTB | According to manufacturer standards
FTC 6099 | Compact suction unit | Laerdal Medical | LCSU 3 | According to manufacturer standards
FTC 6099 | Scale | Detecto | 8430 | According to manufacturer standards
FTC 6099 | Scale | Health O Meter | 880KL | According to manufacturer standards
FTC 6099 | Scale | Seca | SECA 749 | According to manufacturer standards
FTC 6099 | Stretcher | Stryker | 1105 Prime series | According to manufacturer standards
FTC 6099 | Stretcher | Stryker | 1105 Prime series | According to manufacturer standards
FTC 6099 | Stretcher | Stryker | 1105 Prime series | According to manufacturer standards
FTC 6099 | Stretcher | Stryker | 1105 Prime series | According to manufacturer standards
FTC 6099 | Stretcher | Stryker | 1105 Prime series | According to manufacturer standards
FTC 6099 | Powered stretcher | Ferno | Power Flexx + | According to manufacturer standards
FTC 6099 | Compressor | Devilbiss Healthcare | Pulmo-aide | According to manufacturer standards
FTC 6099 | Compressor/Nebulizer | DeVilbiss Healthcare | Pulmo-Aide 5650C | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Oxygen concentrator | Philips | Respironics Everflo Q | According to manufacturer standards
FTC 6099 | Intergrated diaognostic wall system | Welch Allyn | Green Series 777 | According to manufacturer standards
FTC 6099 | Procedure light | Midmark | Ritter 355 | According to manufacturer standards
FTC 6099 | Electric bed | CHG | Spirit plus | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch allyn | ProBP 3400 | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | Propaq LT / 802LTON | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
FTC 6099 | Vital Signs Monitor | Welch Allyn | Spot vital signs | According to manufacturer standards
FTC 6099 | Otoscope | Welch Allyn | Pocketscope 71140 | According to manufacturer standards
FTC 6099 | Otoscope | Welch Allyn | Pocketscope 71140 | According to manufacturer standards
FTC 6099 | Wall mounted otoscope | Welch allyn | Green Series 777 | According to manufacturer standards
FTC 6099 | Scale | Health O Meter | 500KL | According to manufacturer standards
FTC 6099 | Syringe pump | Graseby | 3100 | According to manufacturer standards
FTC 6099 | Syringe pump | Healthmark | ESP-60 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Essex Industries | CGA 870 | According to manufacturer standards
FTC 6099 | Oxygen regulator | Precision medical | 170715D | According to manufacturer standards
FTC 6099 | Oxygen regulator | Victor medical | VWG-15LN | According to manufacturer standards
FTC 6099 | Saturometer | Mini Corr | DIGIT 3420Y | According to manufacturer standards
FTC 6099 | Saturometer | Mini Corr | Digit 3420Y | According to manufacturer standards
FTC 6099 | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
FTC 6099 | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
FTC 6099 | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
FTC 6099 | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
FTC 6099 | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
FTC 6099 | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | DS58 | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | Tycos Classic Hand Aneroid | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
FTC 6099 | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
FTC 6099 | Examination table | Midmark | Ritter 222 | According to manufacturer standards
FTC 6099 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 6099 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 6099 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 6099 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 6099 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 6099 | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
FTC 6099 | Touch free thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
FTC 6099 | Touch free thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
FTC 6099 | Touch free thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
FTC 6099 | Touch free thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
FTC 6099 | Blood pressure monitor | Omron | HEM-907XL | According to manufacturer standards
Joliette | Portable coagulation analyzer | Roche Diagnostics | Coaguchek XS system | According to manufacturer standards
Joliette | Suction unit | Devilbiss Healthcare | 7305 Series | According to manufacturer standards
Joliette | Ultrasonic device + stimulator | Chattanooga Group | Intelect Mobile 2772MC | According to manufacturer standards
Joliette | Stair chair | Ferno | 59-T EZ-Glide | According to manufacturer standards
Joliette | Blood drawing chair | CLINTON | LAB X SERIES modele 66010 | According to manufacturer standards
Joliette | Procedure chair | Midmark | 630 HumanForm | According to manufacturer standards
Joliette | Stretcher | Stryker | Rugged 6080 | According to manufacturer standards
Joliette | Powered stretcher | Ferno | Power Flexx + | According to manufacturer standards
Joliette | Fetal doppler | cooper Surgical | Clear Tone CT205R LBL0097 | According to manufacturer standards
Joliette | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Joliette | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Joliette | Intergrated diaognostic wall system | Welch Allyn | Green Series 777 | According to manufacturer standards
Joliette | Wall mounted procedure light | Midmark | Ritter 255-006 | According to manufacturer standards
Joliette | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Joliette | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Joliette | Vital Signs Monitor | Welch Allyn | 67MXTP | According to manufacturer standards
Joliette | Vital Signs Monitor | Welch Allyn | WA-53NTP-F1 300 Series | According to manufacturer standards
Joliette | Vital Signs Monitor | Welch Allyn | WA-53NTP-F1 300 Series | According to manufacturer standards
Joliette | Vital Signs Monitor | Welch Allyn | Propaq LT / 802LTON | According to manufacturer standards
Joliette | Compressor nebulizer | Graham-Field |  | According to manufacturer standards
Joliette | Wall mounted otoscope | Welch Allyn | WA-23810 | According to manufacturer standards
Joliette | Otoscope/Ophtalmoscope | WELCH ALLYN | pan optic 05256-1 | According to manufacturer standards
Joliette | Scale | Pelstar | code 3310 - 597K | According to manufacturer standards
Joliette | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
Joliette | Syringe pump | Excelsior | HLT ESP 60 | According to manufacturer standards
Joliette | Syringe pump | Smiths Medical | Graseby 3100 | According to manufacturer standards
Joliette | Saturometer | BLT Biolight | M70 | According to manufacturer standards
Joliette | Saturometer | BLT Biolight | M70 | According to manufacturer standards
Joliette | Saturometer | O-two Medical | 01MN1000 | According to manufacturer standards
Joliette | Oxymeter saturomet | Smiths Medical | spectro 2 doigt 30445 | According to manufacturer standards
Joliette | Sphygmo | Welch Allyn | mural | According to manufacturer standards
Joliette | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
Joliette | Physiotherapy table | MTM | Orikon1 avec système Linak | According to manufacturer standards
Joliette | Examination table | Midmark | Ritter 253-002 400616 LED | According to manufacturer standards
Joliette | Examination table | Midmark | Ritter 222 | According to manufacturer standards
Joliette | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Joliette | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Joliette | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Joliette | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Joliette | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Joliette | Medical percussion massager | General Physio Therapy, inc. | MTMGK3 G5 GK3 | According to manufacturer standards
La Macaza | Suction unit | DeVilbiss Healthcare | 7305 Series | According to manufacturer standards
La Macaza | Air purifer | Austin Air | HM400 | According to manufacturer standards
La Macaza | Air purifer | Austin Air | HM400 | According to manufacturer standards
La Macaza | Stretcher | Stryker | 1037 | According to manufacturer standards
La Macaza | Stretcher | Stryker | 1106 Prime series | According to manufacturer standards
La Macaza | Stair chair | Ferno | 59-T EZ-Glide | According to manufacturer standards
La Macaza | Powered stretcher | Ferno | Power Flexx + | According to manufacturer standards
La Macaza | Oxygen concentrator | Devilbiss Healthcare | 525ADS | According to manufacturer standards
La Macaza | Electrocardiograph | Welch Allyn | CP 100 | According to manufacturer standards
La Macaza | Electrocardiograph | Welch Allyn | CP 200 | According to manufacturer standards
La Macaza | Exam light | Welch Allyn | GS900 | According to manufacturer standards
La Macaza | Patient lift | Invacare | Reliant 450 | According to manufacturer standards
La Macaza | Hospital bed | Savard Ortho Confort | 7512-36 | According to manufacturer standards
La Macaza | Blood pressure monitor | PharmaSmart | PS-2000C | According to manufacturer standards
La Macaza | Blood pressure monitor | PharmaSmart | PS-2000C | According to manufacturer standards
La Macaza | Blood pressure monitor | PharmaSmart | PS-2000C | According to manufacturer standards
La Macaza | Vital Signs Monitor | Surgo Surgical Supply (BP Tru medical devices is closed) | BPM-300 | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
La Macaza | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
La Macaza | Scale | Detecto | 339 | According to manufacturer standards
La Macaza | Scale | Detecto | 339 | According to manufacturer standards
La Macaza | Scale | Detecto | 339 | According to manufacturer standards
La Macaza | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
La Macaza | Syringe pump | Graseby | 3100 | According to manufacturer standards
La Macaza | Oxygen regulator | Flotec | RR830-100-P4 | According to manufacturer standards
La Macaza | Oxygen regulator | Flotec | RR830-100-P4 | According to manufacturer standards
La Macaza | Saturometer | Mini Corr | DIGIT 3420Y | According to manufacturer standards
La Macaza | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
La Macaza | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
La Macaza | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
La Macaza | Bladder scanner | Verathon Medical | BVI 9400 | According to manufacturer standards
La Macaza | Calibration syringe | Welch Allyn | 3L | According to manufacturer standards
La Macaza | Sphygmo | AMG Médical | Professional Series | According to manufacturer standards
La Macaza | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
La Macaza | Sphygmo | Welch Allyn | 767 Series | According to manufacturer standards
La Macaza | Neuro-muscular stimulator | GymnaUniphy N.V. | Combi200 | According to manufacturer standards
La Macaza | Electric examination table | Promotal | Quest-PMT1420010 | According to manufacturer standards
La Macaza | Blood pressure monitor | Omron | HEM-741 CAN | According to manufacturer standards
La Macaza | Blood pressure monitor | Omron | HEM-741 CAN | According to manufacturer standards
La Macaza | Blood pressure monitor | Omron | HEM-741 CAN | According to manufacturer standards
La Macaza | Electronic thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
La Macaza | Electronic thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
La Macaza | Electronic thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
La Macaza | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
La Macaza | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
La Macaza | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
La Macaza | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Blood pressure monitor | Omron | HEM-907XL | According to manufacturer standards
MHRC | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
MHRC | Powered stretcher | Ferno | Power Flexx + | According to manufacturer standards
MHRC | Vascular doppler | Accuvein | AV500 | According to manufacturer standards
MHRC | Hospital bed | Stryker | FL23E | According to manufacturer standards
MHRC | Blood pressure monitor | Welch Allyn | 1500 Series | According to manufacturer standards
MHRC | Blood pressure monitor | Welch Allyn | 1500 Series | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | 71WT | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | 71WT | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
MHRC | Nebulizer | Med-Pro | 705-470 | According to manufacturer standards
MHRC | Otoscope | Welch Allyn | 74710 | According to manufacturer standards
MHRC | Otoscope | Welch Allyn | 74710 | According to manufacturer standards
MHRC | Otoscope | Welch Allyn | 74710 | According to manufacturer standards
MHRC | Otoscope/Ophtalmoscope | Welch Allyn | Diagnostic Sets - Configuration 97150-M | According to manufacturer standards
MHRC | Scale | Seca | SECA 750 | According to manufacturer standards
MHRC | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
MHRC | Examination table | Midmark | Ritter 222 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
MHRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Port Cartier | Portable coagulation analyzer | Roche Diagnostics | Coaguchek XS system | According to manufacturer standards
Port Cartier | Portable coagulation analyzer | Roche Diagnostics | Coaguchek XS system | According to manufacturer standards
Port Cartier | Portable coagulation analyzer | Roche Diagnostics | Coaguchek XS system | According to manufacturer standards
Port Cartier | Stair chair | Ferno | 59-T EZ-Glide | According to manufacturer standards
Port Cartier | Evacuation stair chair | Stryker | Rugged stair-pro 6252 | According to manufacturer standards
Port Cartier | Stretcher | Stryker | 1115 Big Wheel Prime | According to manufacturer standards
Port Cartier | Stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
Port Cartier | Stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
Port Cartier | Hydraulic stretcher | Stryker | 1711 Stretcher | According to manufacturer standards
Port Cartier | Vascular doppler | Nicolet Biomedical | Elite 100 | According to manufacturer standards
Port Cartier | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Port Cartier | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
Port Cartier | Electric bed | CHG | Spirit plus | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | Propaq LT | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | Connex Vital signs monitor | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | Connex Vital signs monitor | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
Port Cartier | Vital Signs Monitor | Welch Allyn | Spot Vital Signs 4400 | According to manufacturer standards
Port Cartier | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
Port Cartier | Saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
Port Cartier | Oxygen saturometer | Nellcor | OxiMax N-65 | According to manufacturer standards
Port Cartier | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
Port Cartier | Spirometer | MIR | Spirobank II | According to manufacturer standards
Port Cartier | Neuro-muscular stimulator | GymnaUniphy N.V. | Combi200 | According to manufacturer standards
Port Cartier | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Port Cartier | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Port Cartier | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
Port Cartier | Tympanic thermometer | AccuSystem | Genius2 | According to manufacturer standards
RRC | Portable coagulation analyzer | Roche Diagnostics | Coaguchek XS system | According to manufacturer standards
RRC | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
RRC | Compact suction unit | Laerdal Medical | LCSU 4 | According to manufacturer standards
RRC | Ultrasonic device | Siemens | Sonostat 833 | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | Spot Vital Signs 4400 | According to manufacturer standards
RRC | Scale | Pelstar | 160KL | According to manufacturer standards
RRC | Otoscope charger | Welch Allyn | 71110 | According to manufacturer standards
RRC | Stair chair | Ferno | 59-T EZ-Glide | According to manufacturer standards
RRC | Transport stretcher | HillRom | HILP8005SP | According to manufacturer standards
RRC | Transport stretcher | Stryker | 721 | According to manufacturer standards
RRC | Powered stretcher | HillRom | P8005 | According to manufacturer standards
RRC | Powered stretcher | HillRom | P8005 | According to manufacturer standards
RRC | Powered stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
RRC | Powered stretcher | Stryker | 6500 Power-Pro XT | According to manufacturer standards
RRC | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
RRC | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
RRC | Electrocardiograph | Welch Allyn | CP 150 | According to manufacturer standards
RRC | Intergrated diaognostic wall system | Welch Allyn | Green Series 777 | According to manufacturer standards
RRC | Portable wheelchair lift | Garaventa Lift | StairTrac | According to manufacturer standards
RRC | Exam light | Midmark | Ritter 255 | According to manufacturer standards
RRC | Exam light | Welch Allyn | LS 200 | According to manufacturer standards
RRC | Exam light | Welch Allyn | LS 200 | According to manufacturer standards
RRC | Vital Signs Monitor | Surgo Surgical Supply (BP Tru medical devices est fermé) | BPM-200 | According to manufacturer standards
RRC | Vital Signs Monitor | Surgo Surgical Supply (BP Tru medical devices est fermé) | BPM-200 | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | 301 Series | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | Propaq LT | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | Spot Vital Signs | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | Spot Vital Signs 4400 | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | Spot Vital Signs 4400 | According to manufacturer standards
RRC | Vital Signs Monitor | Welch Allyn | ProBP 3400 | According to manufacturer standards
RRC | Nebulizer | DeVilbiss Healthcare | Pulmo-Aide | According to manufacturer standards
RRC | Nebulizer | DeVilbiss Healthcare | Pulmo-Aide | According to manufacturer standards
RRC | Scale | Health O Meter | 500KL | According to manufacturer standards
RRC | Scale | Health O Meter | 500KL | According to manufacturer standards
RRC | Infusion pump | Baxter | Spectrum IQ | According to manufacturer standards
RRC | Syringe pump | Graseby | 3100 | According to manufacturer standards
RRC | Syringe pump | Health mark | ESP-60 | According to manufacturer standards
RRC | Bladder scanner | Mcube Technology Co., Ltd | BioCon-700 | According to manufacturer standards
RRC | Numeric sphygmo | Welch Allyn | ProBP 2400 | According to manufacturer standards
RRC | Spirometer | MIR | Spirobank 2 | According to manufacturer standards
RRC | Neuro-muscular stimulator | Medtronic | Selectra 7720 | According to manufacturer standards
RRC | Neuro-muscular stimulator | Medtronic | Selectra 7720 | According to manufacturer standards
RRC | Examination table | Midmark | Ritter 222 | According to manufacturer standards
RRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
RRC | Electronic thermometer | Welch Allyn | SureTemp Plus 690 | According to manufacturer standards
RRC | Touch free thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
RRC | Touch free thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
RRC | Touch free thermometer | Welch Allyn | Care Temp touch free | According to manufacturer standards
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.
OPTOMÉTRIE
Discussion avec technicien de Topcon, venu faire un entretien et un débroussaillage des différents appareils – le bon nom avec le bon appareil et le numéro dans les registres du CSE.
Conclusion, un entretien aux 3 ans serait suffisant. Ce qui nuit le plus est justement qu’ils ne sont pas assez utilisés et deviennent difficiles à bouger : lubrification, nettoyage, ajustement et calibration.

## Sheet2
Row Labels | Count of Equipement name
Archambault med. | 34
Ambulance Stretcher | 1
Stryker | 1
Bariatric electric bed | 2
Umamo medical | 2
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Central oxygen system | 1
Amico | 1
Compact suction unit | 1
Laerdal Medical | 1
Compressor/Nebulizer | 2
Drive DeVilbiss Healthcare | 2
Electric bed | 5
Stryker | 5
Electric mobile bed | 1
Stryker | 1
Electrocardiograph | 1
Welch Allyn | 1
Electrocoagulator | 1
Aaron Medical | 1
Electronic scale | 1
Seca | 1
Feeding pump | 1
Coviden | 1
Hospital stretcher | 1
Techlem | 1
Infusion pump | 1
Baxter | 1
Motorized examination table | 1
Midmark | 1
Oxygen concentrator | 2
Philips | 2
Patient lift | 2
ArjoHuntleigh | 1
Waverley Glen | 1
Procedure stretcher | 1
Stryker | 1
Suction unit | 2
Devilbiss Healthcare | 1
Laerdal Medical | 1
Syringe pump | 1
Smiths Medical | 1
Vital Signs Monitor | 5
Philips | 1
Welch Allyn | 4
Archambault min. | 11
Ambulance Stretcher | 1
Stryker | 1
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Blood pressure monitor | 1
Omron | 1
Compact suction unit | 1
Laerdal Medical | 1
Compressor/Nebulizer | 1
Drive DeVilbiss Healthcare | 1
Electrocardiograph | 1
Welch Allyn | 1
Electronic scale | 1
Seca | 1
Motorized examination table | 1
Midmark | 1
Stair chair | 1
Ferno | 1
Vital Signs Monitor | 2
Welch Allyn | 2
Cowansville | 69
Air purifer | 2
Austin Air | 2
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Compact suction unit | 2
Laerdal Medical | 2
Electrocardiograph | 3
Welch Allyn | 3
Electronic thermometer | 6
Welch Allyn | 6
Episcope | 1
Welch Allyn | 1
Exam light | 3
Welch Allyn | 3
Examination table | 2
Midmark | 2
Infusion pump | 1
Baxter | 1
Intergrated diaognostic wall system | 3
Welch Allyn | 3
Neuro-muscular stimulator | 1
AMG Médical | 1
Otoscope | 1
Welch Allyn | 1
Oxygen regulator | 4
Ambu | 1
Flotec | 1
Inovo | 2
Patient lift | 1
Ferno | 1
Portable frontal light | 1
Welch Allyn | 1
Powered stretcher | 1
Stryker | 1
Recliner chair | 1
Lumex | 1
Saturometer | 5
BLT Biolight | 2
O-two Medical | 3
Scale | 3
Health O Meter | 3
Sphygmo | 7
Welch Allyn | 7
Stretcher | 1
Stryker | 1
Suction unit | 1
Schuco | 1
Syringe pump | 2
Graseby | 1
Healthmark | 1
Therapeutic bath | 1
Ferno | 1
Therapeutic bath valves | 1
Ferno | 1
Tympanic thermometer | 5
Welch Allyn | 5
Vascular doppler | 1
Nicolet Biomedical | 1
Vital Signs Monitor | 8
Welch Allyn | 8
Donnacona | 80
Air purifer | 1
Austin Air | 1
Compact suction unit | 5
Laerdal Medical | 5
Electrocardiograph | 2
Welch Allyn | 2
Electronic thermometer | 5
Welch Allyn | 5
Exam light | 1
Midmark | 1
Examination table | 3
Midmark | 3
Hospital bed | 4
Stryker | 4
Infusion pump | 1
Baxter | 1
Intergrated diaognostic wall system | 3
Welch Allyn | 3
Manometer | 2
MEI Manometría e Instrumentación | 2
Nebulizer | 1
Airlife | 1
Neuro-muscular stimulator | 6
EMPI | 2
Everyway medical | 2
Groupe ERP | 1
GymnaUniphy N.V. | 1
Oxygen regulator | 4
Amvex | 1
CHAD Therapeutics | 1
Precision medical | 1
Western Medica | 1
Physiotherapy table | 1
Chattanooga Group | 1
Powered stretcher | 2
Ferno | 2
Saturometer | 8
Mini Corr | 4
Nellcor | 4
Sphygmo | 9
Welch Allyn | 9
Stretcher | 3
Rugged | 1
Stryker | 2
Suction unit | 1
Devilbiss Healthcare | 1
Syringe pump | 1
Graseby | 1
Therapeutic laser | 1
Metron Healthcare | 1
Tympanic thermometer | 3
Welch Allyn | 3
Vital Signs Monitor | 12
Welch Allyn | 12
Warming cabinet | 1
Hugaire | 1
Drummond | 72
Combo intellect mobile | 1
Chattanooga Group | 1
Electrocardiograph | 4
Welch Allyn | 4
Electronic thermometer | 5
FLUKE | 1
Welch Allyn | 4
Exam light | 1
Daylight | 1
Examination table | 3
Midmark | 3
Hospital bed | 3
HillRom | 1
Pedigo | 1
ROTEC | 1
Infusion pump | 1
Baxter | 1
Intergrated diaognostic wall system | 1
Welch Allyn | 1
Nebulizer | 2
Devilbiss Healthcare | 2
Neuro-muscular stimulator | 2
EMPI | 1
Medtronic | 1
Otoscope | 1
Welch Allyn | 1
Oxygen concentrator | 1
Devilbiss Healthcare | 1
Oxygen regulator | 5
Amvex | 1
CHAD Therapeutics | 1
Flotec | 1
Victor medical | 2
Physiotherapy table | 1
CoinfyCare | 1
Portable coagulation analyzer | 1
Roche Diagnostics | 1
Powered stretcher | 2
Stryker | 2
Procedure light | 1
Medi Spot | 1
Recliner chair | 2
Devilbiss Healthcare | 1
Winco Mfg., LLC | 1
Scale | 1
Health O Meter | 1
Sphygmo | 14
Welch Allyn | 14
Stretcher | 2
Stryker | 2
Suction unit | 4
Devilbiss Healthcare | 4
Syringe pump | 2
Baxter | 1
Graseby | 1
Vascular doppler | 1
Nicolet Biomedical | 1
Vital Signs Monitor | 11
Welch Allyn | 11
FTC 600 | 37
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Compact suction unit | 1
Laerdal Medical | 1
Compressor/Nebulizer | 1
Devilbiss Healthcare | 1
Electric patient lift | 1
Lumex | 1
Electrocardiograph | 1
Welch Allyn | 1
Electronic thermometer | 3
Welch Allyn | 3
Examination table | 1
Midmark | 1
Neuro-muscular stimulator | 1
GymnaUniphy N.V. | 1
Numeric sphygmo | 1
Welch Allyn | 1
Oxygen concentrator | 1
Philips | 1
Oxygen regulator | 4
Essex Industries | 4
Powered stretcher | 1
Ferno | 1
Saturometer | 5
Mini Corr | 2
Nellcor | 1
O-two Medical | 2
Scale | 1
Detecto | 1
Sphygmo | 7
Welch Allyn | 7
Suction unit | 1
Devilbiss Healthcare | 1
Syringe pump | 1
Graseby | 1
Vital Signs Monitor | 5
Welch Allyn | 5
FTC 6099 | 91
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Blood pressure monitor | 5
Omron | 5
Cardiac risk marker analyzer | 1
Roche Diagnostics | 1
Coagulation analyzer | 1
Roche Diagnostics | 1
Compact suction unit | 1
Laerdal Medical | 1
Compressor | 1
Devilbiss Healthcare | 1
Compressor/Nebulizer | 1
Devilbiss Healthcare | 1
Electric bed | 1
CHG | 1
Electronic blood pressure Monitor | 1
Welch Allyn | 1
Electronic thermometer | 6
Welch Allyn | 6
Examination table | 1
Midmark | 1
Infusion pump | 1
Baxter | 1
Intergrated diaognostic wall system | 1
Welch Allyn | 1
Otoscope | 2
Welch Allyn | 2
Oxygen concentrator | 8
Philips | 8
Oxygen regulator | 10
Essex Industries | 8
Precision medical | 1
Victor medical | 1
Powered stretcher | 1
Ferno | 1
Procedure light | 1
Midmark | 1
Saturometer | 7
Mini Corr | 2
Nellcor | 1
O-two Medical | 4
Scale | 4
Detecto | 1
Health O Meter | 2
Seca | 1
Sphygmo | 9
Welch Allyn | 9
Stretcher | 7
Stryker | 7
Syringe pump | 2
Graseby | 1
Healthmark | 1
Touch free thermometer | 4
Welch Allyn | 4
Vital Signs Monitor | 13
Welch Allyn | 13
Wall mounted otoscope | 1
Welch Allyn | 1
Joliette | 41
Blood drawing chair | 1
CLINTON | 1
Compressor nebulizer | 1
Graham-Field | 1
Electrocardiograph | 2
Welch Allyn | 2
Electronic thermometer | 5
Welch Allyn | 5
Examination table | 2
Midmark | 2
Fetal doppler | 1
cooper Surgical | 1
Infusion pump | 1
Baxter | 1
Intergrated diaognostic wall system | 1
Welch Allyn | 1
Medical percussion massager | 1
General Physio Therapy, inc. | 1
Otoscope/Ophtalmoscope | 1
Welch Allyn | 1
Oxymeter saturomet | 1
Smiths Medical | 1
Physiotherapy table | 1
MTM | 1
Portable coagulation analyzer | 1
Roche Diagnostics | 1
Powered stretcher | 1
Ferno | 1
Procedure chair | 1
Midmark | 1
Saturometer | 3
BLT Biolight | 2
O-two Medical | 1
Scale | 1
Pelstar | 1
Sphygmo | 2
Welch Allyn | 2
Stair chair | 1
Ferno | 1
Stretcher | 1
Stryker | 1
Suction unit | 1
Devilbiss Healthcare | 1
Syringe pump | 2
Excelsior | 1
Smiths Medical | 1
Ultrasonic device + stimulator | 1
Chattanooga Group | 1
Vital Signs Monitor | 6
Welch Allyn | 6
Wall mounted otoscope | 1
Welch Allyn | 1
Wall mounted procedure light | 1
Midmark | 1
La Macaza | 55
Air purifer | 2
Austin Air | 2
Bladder scanner | 1
Verathon Medical | 1
Blood pressure monitor | 6
Omron | 3
PharmaSmart | 3
Calibration syringe | 1
Welch Allyn | 1
Electric examination table | 1
Promotal | 1
Electrocardiograph | 2
Welch Allyn | 2
Electronic thermometer | 7
Welch Allyn | 7
Exam light | 1
Welch Allyn | 1
Hospital bed | 1
Savard Ortho Confort | 1
Infusion pump | 1
Baxter | 1
Neuro-muscular stimulator | 1
GymnaUniphy N.V. | 1
Oxygen concentrator | 1
Devilbiss Healthcare | 1
Oxygen regulator | 2
Flotec | 2
Patient lift | 1
Invacare | 1
Powered stretcher | 1
Ferno | 1
Saturometer | 4
Mini Corr | 1
Nellcor | 3
Scale | 3
Detecto | 3
Sphygmo | 3
AMG Médical | 1
Welch Allyn | 2
Stair chair | 1
Ferno | 1
Stretcher | 2
Stryker | 2
Suction unit | 1
Devilbiss Healthcare | 1
Syringe pump | 1
Graseby | 1
Vital Signs Monitor | 11
Surgo Surgical Supply (BP Tru medical devices is closed) | 1
Welch Allyn | 10
MHRC | 38
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Blood pressure monitor | 3
Omron | 1
Welch Allyn | 2
Compact suction unit | 1
Laerdal Medical | 1
Electronic thermometer | 10
Welch Allyn | 10
Examination table | 1
Midmark | 1
Hospital bed | 1
Stryker | 1
Nebulizer | 1
Med-Pro | 1
Otoscope | 3
Welch Allyn | 3
Otoscope/Ophtalmoscope | 1
Welch Allyn | 1
Powered stretcher | 1
Ferno | 1
Scale | 1
Seca | 1
Vascular doppler | 1
Accuvein | 1
Vital Signs Monitor | 13
Welch Allyn | 13
Port Cartier | 32
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Electric bed | 1
CHG | 1
Electrocardiograph | 2
Welch Allyn | 2
Electronic thermometer | 3
Welch Allyn | 3
Evacuation stair chair | 1
Stryker | 1
Hydraulic stretcher | 1
Stryker | 1
Infusion pump | 1
Baxter | 1
Neuro-muscular stimulator | 1
GymnaUniphy N.V. | 1
Oxygen saturometer | 1
Nellcor | 1
Portable coagulation analyzer | 3
Roche Diagnostics | 3
Saturometer | 1
Nellcor | 1
Spirometer | 1
MIR | 1
Stair chair | 1
Ferno | 1
Stretcher | 3
Stryker | 3
Tympanic thermometer | 1
AccuSystem | 1
Vascular doppler | 1
Nicolet Biomedical | 1
Vital Signs Monitor | 9
Welch Allyn | 9
RRC | 51
Bladder scanner | 1
Mcube Technology Co., Ltd | 1
Compact suction unit | 2
Laerdal Medical | 2
Electrocardiograph | 3
Welch Allyn | 3
Electronic thermometer | 2
Welch Allyn | 2
Exam light | 3
Midmark | 1
Welch Allyn | 2
Examination table | 1
Midmark | 1
Infusion pump | 1
Baxter | 1
Intergrated diaognostic wall system | 1
Welch Allyn | 1
Nebulizer | 2
Devilbiss Healthcare | 2
Neuro-muscular stimulator | 2
Medtronic | 2
Numeric sphygmo | 1
Welch Allyn | 1
Otoscope charger | 1
Welch Allyn | 1
Portable coagulation analyzer | 1
Roche Diagnostics | 1
Portable wheelchair lift | 1
Garaventa Lift | 1
Powered stretcher | 4
HillRom | 2
Stryker | 2
Scale | 3
Health O Meter | 2
Pelstar | 1
Spirometer | 1
MIR | 1
Stair chair | 1
Ferno | 1
Syringe pump | 2
Graseby | 1
Health mark | 1
Touch free thermometer | 3
Welch Allyn | 3
Transport stretcher | 2
HillRom | 1
Stryker | 1
Ultrasonic device | 1
Siemens | 1
Vital Signs Monitor | 12
Surgo Surgical Supply (BP Tru medical devices est fermé) | 2
Welch Allyn | 10
Grand Total | 611